| 31-07-2024 08-53-38 | CF prototype 1 | First measurement |
| --- | --- | --- |
| 07-03-2025 12-33-07 |  | First measurement with Mattia |
| 10-03-2025 16-32-11 |  | With FSI |
| 11-03-2025 12-07-47 |  | After stretching |
| 11-03-2025 16-44-19 |  | After stretching, with FSI (one mirrorless line working) |
| 12-03-2025 10-09-35 |  | Double stretched (M) |
| 12-03-2025 15-48-05 |  | No stretch again (M) |
| 14-03-2025 11-30-51 |  | Off-centre measurement (M) |
| 17-03-2025 11-37-28 |  | Off-centre (M) |
| 17-03-2025 16-27-48 |  | Torsional Mode study (M) |
| 18-03-2025 11-26-11 | 10 | Torsional Mode study (Near C) (M) |
| 18-03-2025 14-35-49 |  | Torsional Mode study (Off) (M) |
| 19-03-2025 13-30-22 |  | No Rotation |
| 19-03-2025 15-46-39 |  | 180Deg Rotation |
| 20-03-2025 11-03-21 |  | Off-centre stretched (180Deg Rot) |
| 26-03-2025 09-32-04 |  | Kapton ladder (linear scaling) |
| 26-03-2025 14-01-09 |  | Kapton ladder (logarithmic scaling) |
| 08-04-2025 11-59-07 |  | Kapton (G) |
| 09-04-2025 11-10-29 |  | Kapton 8Hz feature study, 45 deg rot of fixing beam (K) |
| 09-04-2025 16-10-02 |  | Kapton 8Hz feature study, shift of the ladder on the table (K) |
| 14-04-2025 11-45-43 | 20 | Kapton 8Hz feature study, very tight (K) |
| 15-04-2025 10-52-59 |  | Kapton 8Hz study, not tight at all (K) |
| 21-04-2025 10-45-43 |  | Only Table, no 8Hz effect |
| 21-04-2025 15-01-24 |  | Ring-frame measurement, no 8Hz effect |
| 22-04-2025 15-23-56 |  | Near ladder end measurement. (Spatial modulation) same 8Hz effect (K) |
| 23-04-2025 16-53-33 |  | Reference measurement for previous measurement (K) |
| 30-04-2025 15-49-04 |  | Stabilized at carbon (C) |
| 01-05-2025 10-01-35 |  | Reference measurement carbon (C) |
| 06-05-2025 09-46-17 |  | Near ladder end (1/6), peak should be 1/2A (K) |
| 06-05-2025 11-01-46 |  | Reference measurement for previous measurement (K) |
| 07-05-2025 10-08-10 | 30 | Down to 4.6Hz (K) (10^(-7)) |
| 07-05-2025 14-57-21 |  |  |
| 13-05-2025 14-33-50 |  | Noise measurement for uncertainties and offset |
| 13-05-2025 16-35-46 |  | Noise measurement for uncertainties offset |
| 16-05-2025 14-32-11 |  | Down to 3.8Hz (5*10^(-8)) (I think not enough acceleration) (K) |
| 19-05-2025 09-18-02 |  | Down to 6Hz (K) (10^(-7)) (K) |
| 19-05-2025 13-00-21 |  | Down to 10Hz (K) (10^(-7)) (K) |
| 19-05-2025 15-18-45 |  | Down to 10Hz (K) (10^(-6)) (K) |
| TBD |  | Down to 12Hz (K) (10^(-6)) (K) |
| 02-06-2025 16-48-40 |  | 10^(-5) from 15Hz (K) |
| 02-06-2025 17-58-20 |  | 10^(-5) from 13Hz (K) |
| 03-06-2025 10-11-58 |  | 10^(-6) from 8Hz (K) |